## Slide 1
IECD
6th SEMESTER
ELECTRICAL

## Slide 2: Thyristors
Most important type of power semiconductor device.
Have the highest power handling capability. They have a rating of 5000V / 6000A with switching frequencies ranging from 1KHz to 20KHz.

## Slide 3: SCR
Symbol of
Silicon Controlled Rectifier

## Slide 4: Device Operation
Simplified model of a thyristor

## Slide 5: Two Transistor Model of SCR


## Slide 6: V-I Characteristics

## Slide 7: Methods of Thyristor Turn-on
Thermal Turn-on.
Light.
High Voltage.
Gate Current.
dv/dt.

## Slide 8: Gate Triggering Methods
Efficient & reliable method for turning on SCR.
Types
  R - Triggering.
  RC - Triggering.
  UJT - Triggering.

## Slide 9: R-Triggering
Resistance firing circuit

## Slide 10: RC Triggering
RC half-wave trigger circuit

## Slide 11: Bidirectional Triode Thyristors (TRIAC)

## Slide 12: Triac Characteristics

## Slide 13: High temperature due to:

## Slide 14: Snubber

## Slide 15: Unijunction Transistor (UJT)
UJT is another solid state three terminal device that can be used in gate pulse, timing circuits and trigger generator applications to switch and control thyristors and triacs for AC power control applications.

## Slide 16: Unijunction Transistor (UJT)
Equivalent Circuit: UJT’s have unidirectional conductivity and negative impedance characteristics acting more like a variable voltage divider during breakdown

## Slide 17: Unijunction Transistor (UJT)
For a Unijunction transistor, the resistive ratio of RB1 to RBB is called the intrinsic stand-off ratio (η).
Typical standard values of η range from 0.5 to 0.8 for most common UJT’s.

## Slide 18: UJT Characteristics

## Slide 19: UJT Relaxation Oscillator
In a basic and typical UJT relaxation oscillator circuit, the Emitter terminal of the Unijunction transistor is connected to the junction of a series connected resistor and capacitor.

## Slide 20: UJT Relaxation Oscillator

## Slide 21: Triac Light Dimmer
Triac
(front view)
MT1 MT2 G
+
Van
(from Variac)
–
Light
bulb
G
MT2
MT1
0.1µF
3.3kΩ
250kΩ linear pot
Triac
Bilateral trigger diode (diac)
a
c
n
b
Light
bulb
a
n
b
Before firing, the triac is an open switch, so that practically no voltage is applied across the light bulb. The small current through the 3.3kΩ resistor is ignored in this diagram.
+ 0V –
+
Van
–
+
Van
–
Ingenious
Simple
Efficient
Inexpensive
After firing, the triac is a closed switch, so that practically all of Van is applied across the light bulb.
Light
bulb
a
n
b
+ Van –
+
Van
–
+
0V
–