| Lesson Plan |  |  |  |
| --- | --- | --- | --- |
| Faculty | Mr. Gulvender |  |  |
| Discipline | Electrical Engineering |  |  |
| Semester | 5th |  |  |
| Subject | Power System |  |  |
| Duration | 15 Weeks (from 04 August 2025 to 31st December 2025) |  |  |
| Work Load per Week | Lecture – 03 ; Practical - 04 |  |  |
|  |  | Theory | PRACTICALS |
| Week | Lecture Day | Topic | Name of Practical |
| I | 1 | Power Generation - Introduction | To measure earth resistance with the help of earth resistance tester. |
|  | 2 | Different types of Power Generation: |  |
|  | 3 | Working operation of thermal power plant, diesel power and nuclear power plant |  |
| II | 1 | Comparison of the generating stations on the basis of running cost, site, starting, maintenance etc. | To study different types of line insulators, line support. |
|  | 2 | Economics of Generation: Fixed and running cost, load estimation, load curves, |  |
|  | 3 | demand factor, load factor, diversity factor |  |
| III | 1 | Power factor and their effect on cost of generation | Visit a power generation plant to study its major parts, working and prepare detail report. |
|  | 2 | Base load and peak load power stations |  |
|  | 3 | Power Grid: Inter-connection of power stations and its advantages, |  |
| IV | 1 | concept of regional and national grid |  |
|  | 2 | Transmission Systems - Introduction |  |
|  | 3 | Introduction: Classification of transmission lines, selection of voltage for H.T and L.T lines, |  |
| V | 1 | advantages of high voltage for Transmission AC and DC, | Visit a 400kV/220kV/132kV transmission line and make list of all components viz line supports, conductors, insulators and other accessories and prepare detail report. |
|  | 2 | Introduction to 765kV and 1200 kV lines (HVAC & HVDC). |  |
|  | 3 | Comparison of AC versus DC for power transmission. |  |
| VI | 1 | Constructional and Mechanical Features: Types of conductors-Copper, Aluminum: | Visit to a 66kV/33kV/11kV/415V/230V distribution line make list of all components viz line supports, conductors, insulators and other accessories and preparing detail report. |
|  | 2 | Solid, stranded. Bundle conductors and Transposition of conductor. |  |
|  | 3 | Line supports: Requirements, types of line structures. Line insulators – requirements, types, Failure of insulator. |  |
| VII | 1 | String efficiency, methods of improving string efficiency. Earth wire and their accessories. | To determine experimentally flash over voltage of transformer oil and hence determine the dielectric strength. |
|  | 2 | Importance of sag, calculation of sag, effects of wind and ice. Indian electricity rules pertaining to clearance. |  |
|  | 3 | Electrical Features: Voltage regulation, Concept of corona, effects of corona and remedial measures, |  |
| VIII | 1 | Skin effect, proximity effect and Ferranti effect, |  |
|  | 2 | Transmission line losses. |  |
|  | 3 | Concept of Load dispatch Centre. |  |
| IX | 1 | Distribution System - Introduction | To measure the rating of capacitor bank installed in a sub-station for improving power factor. |
|  | 2 | Overhead AC Distribution system: Layout of HT and LT distribution system, |  |
|  | 3 | constructional feature of distribution lines and their erection. |  |
| X | 1 | Feeder, distributor and Service mains. |  |
|  | 2 | Types of different distribution schemes. |  |
|  | 3 | Advantages, disadvantages and applications of different distribution schemes. |  |
| XI | 1 | Underground Distribution system: Comparison of underground system with overhead system. | Study of Indian Electricity rules as per BIS standard related to clearance of overhead transmission and distribution lines. |
|  | 2 | Constructional features of LT (400 V), HT (11 kV) underground cables. |  |
|  | 3 | Faults in Underground Cable, determination of fault location by Blavier Test, Murray Loop Test, Varley Loop Test. |  |
| XII | 1 | Sub Stations -Introduction | Draw a layout diagram of 11kV/400V substation installed in the campus and make list of all accessories. |
|  | 2 | Classification of substation, selection & location of site, |  |
|  | 3 | Equipment's used in substation, Layout of 33kV/11kV and 11kV/400Vdistribution substation and various auxiliaries and equipment associated with it. |  |
| XIII | 1 | Brief introduction to Gas Insulated Substation. | To find fault in underground cables by Murray Loop Test/ Varley Loop Test |
|  | 2 | Tariff and Power factor-Introduction |  |
|  | 3 | Tariff: Types of tariff & characteristics, |  |
| XIV | 1 | Types of consumers & their tariff. | Study of data related to conductors of different sizes/types for overhead lines as per IS 398. |
|  | 2 | Power Factor: Concept of Power factor and its significance. |  |
|  | 3 | Causes of low power factor, |  |
| XV | 1 | Methods of p.f. improvements, Economics of p.f. improvements. | Visit to a distribution substation to study layout of major components and types of Feeders, Distributors and Service Mains and prepare detailed report. |
|  | 2 | Assignments |  |
|  | 3 | Revison |  |