| Lesson Plan |  |  |  |
| --- | --- | --- | --- |
| Faculty | Mrs. Renu Bala |  |  |
| Discipline | Electrical Engineering |  |  |
| Semester | 6th |  |  |
| Subject | Energy Conservation and Audit |  |  |
| Duration | 15 Weeks (from15 January 2026 to 30 Apr 2026) |  |  |
| Work Load per Week | Lecture – 02 ; Practical - 02 |  |  |
|  |  | Theory | PRACTICALS |
| Week | Lecture Day | Topic | Name of Practical |
| I | 1 | Introduction of the Subject: Energy Conservation and Audit | Introduction of the Lab |
|  | 2 | Fundamentals of Energy Conservation |  |
| II | 1 | 1.1 Energy Scenario: Primary and Secondary Energy, Energy demand and supply. | 1. Identify star labelled electrical apparatus and compare the data for various star ratings. |
|  | 2 | 1.2 Introduction to Energy conservation, energy management , energy efficiency and its need |  |
| III | 1 | 1.3 Bureau of Energy efficiency ( BEE) and its Roles | 2. Study of various instrument used for energy audit |
|  | 2 | 1.4 Star Labelling: Need and its benefits. |  |
| IV | 1 | Energy Conservation in Electrical Installation Systems | 3. Use APFC unit for improvement of p. f. of electrical load. |
|  | 2 | 2.1 General energy saving tips in Lighting system |  |
| V | 1 | 2.2 Energy efficiency measures in fans , water pumps, Room Air Conditioners, Refrigerators, Heaters, Blowers , Washing Machines etc | File checking and Viva voce |
|  | 2 | Assignment No 01 |  |
| VI | 1 | Test No.01 | 4. Determine the reduction in power consumption by replacement of lighting system in a class room / laboratory. |
|  | 2 | 2.3 Energy conservation in Electricity Bill: concept of Electricity billing, Maximum Demand Controller kVAR Controller , Maximum demand controllers; Automatic power factor controllers (APFC) |  |
| VII | 1 | Energy Conservation in Electrical Machines | 5. Collect electricity bill of a residential consumer and suggest suitable means for conservation and reduction of the energy bill. |
|  | 2 | 3.1 General energy saving tips for transformer and AC/DC motor. |  |
| VIII | 1 | 3.2 Energy efficient motor; significant features, advantages, applications and limitations | 6. Prepare an energy audit report for your Institute. |
|  | 2 | 3.3 Energy efficient transformers, amorphous transformers; epoxy Resin cast transformer / Dry type of transformer. |  |
| IX | 1 | 3.4 Energy saving factors for the selection of DG system. | File checking and Viva voce |
|  | 2 | Assignment No 02 |  |
| X | 1 | Test No.03 | 7. Prepare a technical report on energy conservation act 2003. |
|  | 2 | Energy Audit of Electrical System |  |
| XI | 1 | 4.1 Energy audit : Definition, and Need of energy audit | 8. Prepare a technical report on Energy Conservation Building Code (ECBC). |
|  | 2 | 4.2 Types of Energy audit and Instruments used for energy audit |  |
| XII | 1 | 4.3 Roles and responsibilities of energy Manager and Accountability | 9. Studying the various energy conservation methods useful in power generation, transmission and distribution. |
|  | 2 | 4.4 Energy Audit procedure: Techniques involved in conducting energy audits, including data collection, analysis, and evaluation of energy consumption patterns. |  |
| XIII | 1 | Energy Conservation Act | 10. Visit an industry and studying various energy management systems in an industry. Further identify the various energy conservation methods useful in a particular industry |
|  | 2 | 5.1 Energy conservation Act 2001: Objectives, features and its amendments. |  |
| XIV | 1 | 5.2 Salient features of Energy Conservation Building Code (ECBC): Building Envelope, Comfort System and Controls, Lighting & Controls and Electrical & Renewable Energy Systems. | File checking and Viva voce |
|  | 2 | 5.3 Salient features of Eco Niwas Samhita Code (ENS) |  |
| XV | 1 | Assignment No 03 | File checking and Viva voce |
|  | 2 | Test No.03 |  |