## POWER-II
LESSON PLAN
Name of the Faculty |  | : Navneet Kaushik
Discipline |  | : ELECTRICAL ENGINEERING
Semester |  | : 5th
Subject |  | : POWER SYSTEM
Lesson Plan Duration |  | : 14 WEEKS(From August 2026 to November 2026)
Work Load (Lecture/ Practical) per week (in hours) |  | : Theory- 03
: Practical- 04
Week | Theory |  | Practical
| Lecture Day | Topic | Week | Topic
1st | 1st | (a) Introduction to the Subject | 1st | To measure earth resistance with the help of earth resistance tester.
(b) Introduction of the nature of the examination and marks distribution of different topics
| 2nd | Different types of Power Generation: Working operation of thermal power plant, diesel power and nuclear power plant.
| 3rd | Comparison of the generating stations on the basis of running cost, site, starting, maintenance etc.
2nd | 1st | Economics of Generation: Fixed and running cost, load estimation, load curves, | 2nd | To study different types of line insulators, line support.
| 2nd | demand factor, load factor, diversity factor, power factor and their effect on cost of generation. Base load and peak load power stations
| 3rd | Power Grid: Inter-connection of power stations and its advantages, concept of regional and national grid.
3rd | 1st | Test of UNIT 1 | 3rd | Visit a power generation plant to study its major parts, working and prepare detail report.
| 2nd | Classification of transmission lines, selection of voltage for H.T and L.T lines, advantages of high voltage for Transmission AC and DC, Introduction to 765kV and 1200 kV lines (HVAC & HVDC).
| 3rd | Comparison of AC versus DC for power transmission
4th | 1st | Constructional and Mechanical Features: Types of conductors-Copper, Aluminum: Solid, stranded. Bundle conductors and Transposition of conductor. | 4th | Visit a 400kV/220kV/132kV transmission line and make list of all components viz line supports, conductors, insulators and other accessories and prepare detail report.
| 2nd | Line supports: Requirements, types of line structures. Line insulators – requirements, types, Failure of insulator. String efficiency, methods of improving string efficiency.
| 3rd | Earth wire and their accessories. Importance of sag, calculation of sag, effects of wind and ice. Indian electricity rules pertaining to clearance
5th | 1st | Electrical Features: Voltage regulation, Concept of corona, effects of corona and remedial measures, Skin effect, proximity effect and Ferranti effect, Transmission line losses. | 5th | Visit to a 66kV/33kV/11kV/415V/230V distribution line make list of all components viz line supports, conductors, insulators and other accessories and preparing detail report.
| 2nd | Concept of Load dispatch Centre
| 3rd | Test of UNIT 2
6th | 1st | Overhead AC Distribution system: Layout of HT and LT distribution system, constructional feature of distribution lines and their erection. | 6th | To determine experimentally flash over voltage of transformer oil and hence determine the dielectric strength.
| 2nd | Feeder, distributor and Service mains. Types of different distribution schemes.
| 3rd | Advantages, disadvantages and applications of different distribution schemes.
7th | 1st | Underground Distribution system: Comparison of underground system with overhead system. | 7th | (a)Technical Quiz (b) Viva Voce and Practical file Evaluation
| 2nd | Contd.
| 3rd | Constructional features of LT (400 V), HT (11 kV) underground cables
8th | 1st | Contd. | 1st | To measure the rating of capacitor bank installed in a sub-station for improving power factor.
| 2nd | Faults in Underground Cable,
| 3rd | determination of fault location by Blavier Test, Murray Loop Test, Varley Loop Test.
9th | 1st | Contd. | 1st | Study of Indian Electricity rules as per BIS standard related to clearance of overhead transmission and distribution lines.
| 2nd | Test of UNIT 3
| 3rd | Classification of substation, selection & location of site
10th | 1st | Contd. | 1st | Draw a layout diagram of 11kV/400V substation installed in the campus and make list of all accessories.
| 2nd | Equipment's used in substation,
| 3rd | Contd.
11th | 1st | Layout of 33kV/11kV and 11kV/400Vdistribution substation | 1st | To find fault in underground cables by Murray Loop Test/ Varley Loop Test.
| 2nd | Various auxiliaries and equipment associated with it
| 3rd | Cont.
12th | 1st | Brief introduction to Gas Insulated Substation. | 1st | Study of data related to conductors of different sizes/types for overhead lines as per IS 398.
| 2nd | Test of UNIT 4
| 3rd | Tariff: Types of tariff & characteristics,
13th | 1st | Types of consumers & their tariff. | 1st | Visit to a distribution substation to study layout of major components and types of Feeders, Distributors and Service Mains and prepare detailed report
| 2nd | Contd.
| 3rd | Power Factor: Concept of Power factor and its significance.
14th | 1st | Causes of low power factor, | 1st | Viva Voce and Practical file Evaluation
| 2nd | Methods of p.f. improvements, Economics of p.f. improvements.
| 3rd | Test of UNIT 5