| Name of the Faculty |  |  | Sh.Vikash Kumar |  |  |
| --- | --- | --- | --- | --- | --- |
| Discipline |  |  | Electrical Engineering |  |  |
| Semester |  |  | 3rd Semester |  |  |
| Subject |  |  | Electrical Measurement & Instrumentation |  |  |
| Lesson Plan Duration |  |  | 15 Weeks (From 30/07/2026 to 23/11/2026) |  |  |
| Work load (Lecture/Practical) per week : |  |  | Lectures-03 , Practicals-04 |  |  |
| Week | Theory |  |  | Practical |  |
|  | Lecture Day | Topic (including assignment / test) |  | Day | Topic |
| 1 | 1 | Significance of measurement, errors in measurement, types of error |  | 1 | Use of analog and digital multimeter for measurement of voltage, current (A.C/D.C) and resistance |
|  | 2,3 | Classification of measuring instruments: indicating, recording, and integrating instruments; Essential requirements of an indicating instrument. |  | 2 | To measure the value of earth resistance using earth tester. |
| 2 | 4 | Concept of Ammeter, voltmeter, ammeter construction, working principle |  | 3 | To measure power, power factor in a single-phase circuit, using wattmeter and power factor meter and to verify results with calculations. |
|  | 5,6 | Merits, demerits and comparison of moving coil, moving iron meter, rectifier type |  | 4 | Measurement of power and power factor of a three- phase balanced load by two wattmeter method. |
| 3 | 7,8 | Extension of range and calibration of voltmeter and ammeter, Errors and compensation |  | 5 | Measurement of voltage and frequency of a sinusoidal signal using CRO and draw |
|  |  |  |  |  | wave shape of signal. |
|  | 9 | Construction, working principle, |  | 6 | Measurement of power in a |
|  |  | merits and demerits of dynamometer wattmeter |  |  | 3-phase circuit using CT, PT and 3-phase wattmeter. |
| 4 | 10 | Digital wattmeter, Active and reactive power measurement by , two and three wattmeter method. |  | 7 | Use of LCR meter for measuring inductance, capacitance and resistance. |
|  | 11, 12 | Effect of Power factor on wattmeter reading in two wattmeter method, Maximum Demand indicator |  | 8 | To record all electrical quantities from the meters installed in the institution |
|  |  |  |  |  | premises |
| 5 | 13, 14, | Construction, working principle, merits and demerits of single-phase and three-phase energy meters (Induction type), Errors and |  | 9 | To measure Energy at different Loads using Single Phase Digital Energy meter. |
|  | 15 | their compensations |  |  |  |
| 6 | 16 | Calibration of energy meter using direct loading |  | 10 | Calibration of single phase and three-phase energy |
|  |  |  |  |  | meter. |
|  | 17, 18 | Digital energy meter (diagram, |  | 11 | Measurement of pressure by using LVDT. |
|  |  | construction and application) |  |  |  |
| 7 | 19, | Construction, working principle and application of Meggar, Earth tester (analog and digital), multi- meter (analog and digital), Frequency meter (dynamometer type), single power factor meter (Electrodynamometer type) |  | 12 | To measure temperature using a thermo-couple |
|  | 20,21 |  |  |  |  |
| 8 | 22 | Working principle of synchroscope and phase sequence indicator, tong tester |  | 13 | Measurement of temperature by using thermistor/Thermal Imager. |
|  |  | (Clamp-on meter) |  |  |  |
|  | 23 | Study of LCR meters and their |  | 14 | To measure the strain using electrical strain gauge |
|  |  | applications |  |  |  |
|  | 24 | Construction, working and applications of CT and PT |  | 15 | To measure the pH level using pH |
|  |  |  |  |  | meter. |
| 9 | 25, 26 | Cathode Ray Oscilloscope: Block diagram, working principle of CRO and its various controls, Digital Storage Oscilloscope |  |  |  |
|  |  | (DSO) |  |  |  |
|  | 27 | Introduction, Types of Transducers |  |  |  |
| 10 | 28, 29 | Construction and principle of resistive transducer-Potentiometer–variac and strain gauges -No derivation |  |  |  |
| 11 | 30, 31 | Only definition and formula for gauge factor, Types of strain gauges like unbonded, bonded |  |  |  |
|  |  | and semiconductor |  |  |  |
| 12 | 32, 33 | Construction and principle of Inductive transducers-L.V.D.T. and R.V.D.T, their applications. |  |  |  |
| 13 | 34.35 | Construction, principle and applications of transducers – Piezoelectric transducer, photo-conductive cells, photo voltaic cells. |  |  |  |
| 14 | 36, 37, | Temperature measurement - Construction and Working of RTD, Thermistor and Thermocouple, radiation pyrometer, technical specifications and ranges. |  |  |  |
|  | 38 | Thermal Imager Camera (Concept) |  |  |  |
| 15 | 39, 40 | Pressure measurement – Construction and working of bourdon tube, bellow diaphragm strain gauge. Measurement of pH |  |  |  |
|  |  | Level. |  |  |  |